## Lists (hidden)
Daily | OK | OK | Yes | Low | Open | OK | Buildings | Fire Safety | Service
Weekly | Due Soon | Monitor | No | Medium | In Progress | Service Due | Yard | Electrical | Repair
Fortnightly | Overdue | Defect |  | High | Complete | Repair Needed | Arena | Water | Inspection
Monthly | Action Required |  |  |  |  | Out of Use | Stables | Gas | Other
Quarterly | [6 empty] | Fields | First Aid
6-Monthly | [6 empty] | Car Park | General
Annually | [6 empty] | Tack Room | Security
2 Years | [6 empty] | Feed Room | Other
3 Years | [6 empty] | Office
Other

## Overview
Riding School Site Inspection & Maintenance Log Book
Purpose | Use this workbook to record statutory checks, routine site inspections, major equipment checks, defects, maintenance actions, and contractor visits.
How to use | Complete the relevant sheet at the required frequency. Where a defect or concern is identified, record it in the Defect Log and track it through to completion.
Key principle | Inspections are only effective if actions are completed. Significant findings should be reflected into maintenance, repairs, procedures, or other site controls.
Suggested frequencies | Use the Periodicity column and record the last inspection/service date. The Next Due Date will calculate automatically.
Sheets included | Statutory Register, Routine Inspection, Defect Log, Planned Maintenance, Major Equipment, Contractor Log.

## Statutory Register
Item | Category | Location | Requirement / Guidance | Periodicity | Responsible Person | Last Checked Date | Next Due Date | Status | Notes
Fire extinguishers | Fire Safety | Office / Yard | Inspect and service at required intervals | Annually
Fire alarm | Fire Safety | Main building | Routine testing and servicing as applicable | Weekly
Emergency lighting | Fire Safety | Main building | Routine function checks and servicing as applicable | Monthly
Electrical installation (EICR) | Electrical | Whole site | Inspection by competent electrician | 3 Years
Portable appliances (PAT) | Electrical | Office / kitchen / tack room | Testing where applicable | Annually
Water hygiene / Legionella controls | Water | Whole site | Control checks as appropriate to scheme | Monthly
Gas boiler / appliances | Gas | Office / staff areas | Inspection by Gas Safe engineer where applicable | Annually
First aid kits | First Aid | Office / yard / arena | Check contents are present and in date | Monthly
Formulas:
Status = IF([Next Due Date]="","",IF([Next Due Date]<TODAY(),"Overdue",IF([Next Due Date]<=TODAY()+30,"Due Soon","OK")))

## Routine Inspection
Area | Item Checked | Periodicity | Date Completed | Next Due | Condition | Comments | Action Required | Logged By
Stables | Doors, partitions, latches and sharp edges | Monthly
Stables | Floors, drainage, bedding areas and trip hazards | Monthly
Arena | Surface depth, consistency, fencing and gates | Quarterly
Yard | Walkways, drainage, slips, trips and lighting | 6-Monthly
Fields | Fencing, gateways and field hazards
Tack Room | Storage, electrical safety and housekeeping
Car Park | Access routes, potholes and pedestrian safety
Office | Signage, first aid access and fire exits

## Defect Log
Defect ID | Date Identified | Area | Description of Issue | Risk Level | Immediate Control | Action Required | Assigned To | Target Completion Date | Status | Date Completed | Signed Off By

## Planned Maintenance
Item | Task | Periodicity | Last Completed | Next Due | Responsible Person | Contractor | Notes
Arena | Level and inspect surface | Monthly
Fencing | Inspect and repair as needed | Monthly
Gutters / drains | Clear and inspect | Quarterly
Stable blocks | Deep clean and inspect fabric | 6-Monthly

## Major Equipment
Equipment Item | ID / Serial Number | Location | Purpose / Use | Periodicity | Last Inspection / Service | Next Due | Condition | Notes
Horsebox / trailer |  | Yard | Transport | Annually
Tractor / utility vehicle |  | Yard | Grounds / maintenance | 6-Monthly
Arena harrow / leveller |  | Yard | Arena maintenance | 6-Monthly
Jumps and wings |  | Arena | Lessons / jumping | Monthly
Mounting block |  | Arena / yard | Client access | Monthly
Wheelbarrows and mucking-out equipment |  | Yard | Daily operations | Monthly

## Contractor Log
Contractor Name | Service Type | Date Attended | Work Carried Out | Certificate Received | Next Service Due | Notes